## Sheet1
P (in. H20) | V (Volts) | Standard Deviation of V | Uncertainty in V (95%) | Uncertainty in P
4.7 | 2.399 | 0.032 | 0.064 | 0.05
1.7 | 0.874 | 0.027 | 0.054 | 0.05
-3.9 | -1.913 | 0.027 | 0.054 | 0.05
Pressure transducer Calibration |  |  | Atmospheric Conditions
Slope (Calibration Constant) | Uncertainty |  | Temperature (C) | Pressure (hPa)
1.9963 |  |  | 23 | 1013
Intercept | Uncertainty |  | Humidity
-0.071638 |  |  | 47%
theta = 0 is 45 off
Wind Tunnel Calibration
Slope (Calibration Constant) | Uncertainty
0.5713 | 0.025106
Intercept | Uncertainty
-0.296 | 0.121
Operating Condition 1 (Hz) | P1-P2 (in. H2O) | Standard Deviation of P1-P2 (in. H2O) | Statistical Uncertainty in P1-P2 (in. H2O) | RSS Propegated Uncertainty in P1-P2 (in. H2O) | Corresponding q (in. H2O) | Reynolds Number (sutherlands formula)
35 | 2.701 | 0.069 | 0.138 |  | 1.2471
Theta (Degrees) | Theta (Radians) | Beta (Degrees) | Beta (Radians) | Pcyl-Pwall (in. H2O) | Standard Deviation in Pcyl-Pwall (in. H2O) | Uncertainty in Pcyl-Pwall (in. H2O) | RSS Propegated Uncertainty in Pcyl-Pwall (in. H2O) | Cp ((Pcyl-Pwall)/q)
0 | 0 | 180 | 3.1416 | -1.102 | 0.071 | 0.142 |  | -0.88366
10 | 0.17453 | 170 | 2.9671 | -1.472 | 0.073 | 0.146 |  | -1.1804
20 | 0.34907 | 160 | 2.7925 | -1.47 | 0.083 | 0.166 |  | -1.1788
30 | 0.5236 | 150 | 2.618 | -1.349 | 0.097 | 0.194 |  | -1.0817
40 | 0.69813 | 140 | 2.4435 | -1.277 | 0.094 | 0.188 |  | -1.024
50 | 0.87266 | 130 | 2.2689 | -1.252 | 0.084 | 0.168 |  | -1.0039
60 | 1.0472 | 120 | 2.0944 | -1.275 | 0.079 | 0.158 |  | -1.0224
70 | 1.2217 | 110 | 1.9199 | -1.273 | 0.097 | 0.194 |  | -1.0208
80 | 1.3963 | 100 | 1.7453 | -1.3 | 0.081 | 0.162 |  | -1.0424
90 | 1.5708 | 90 | 1.5708 | -1.326 | 0.093 | 0.186 |  | -1.0633
100 | 1.7453 | 80 | 1.3963 | -1.357 | 0.11 | 0.22 |  | -1.0881
110 | 1.9199 | 70 | 1.2217 | -1.32 | 0.116 | 0.232 |  | -1.0585
120 | 2.0944 | 60 | 1.0472 | -1.411 | 0.117 | 0.234 |  | -1.1314
130 | 2.2689 | 50 | 0.87266 | -1.43 | 0.108 | 0.216 |  | -1.1467
140 | 2.4435 | 40 | 0.69813 | -1.385 | 0.105 | 0.21 |  | -1.1106
150 | 2.618 | 30 | 0.5236 | -1.363 | 0.102 | 0.204 |  | -1.093
160 | 2.7925 | 20 | 0.34907 | -1.324 | 0.099 | 0.198 |  | -1.0617
170 | 2.9671 | 10 | 0.17453 | -1.326 | 0.088 | 0.176 |  | -1.0633
180 | 3.1416 | 0 | 0 | -1.292 | 0.085 | 0.17 |  | -1.036
190 | 3.3161 | -10 | -0.17453 | -1.266 | 0.078 | 0.156 |  | -1.0152
200 | 3.4907 | -20 | -0.34907 | -1.233 | 0.083 | 0.166 |  | -0.98871
210 | 3.6652 | -30 | -0.5236 | -1.25 | 0.089 | 0.178 |  | -1.0023
220 | 3.8397 | -40 | -0.69813 | -1.328 | 0.097 | 0.194 |  | -1.0649
230 | 4.0143 | -50 | -0.87266 | -1.461 | 0.102 | 0.204 |  | -1.1715
240 | 4.1888 | -60 | -1.0472 | -1.445 | 0.083 | 0.166 |  | -1.1587
250 | 4.3633 | -70 | -1.2217 | -1.115 | 0.067 | 0.134 |  | -0.89409
260 | 4.5379 | -80 | -1.3963 | -0.554 | 0.067 | 0.134 |  | -0.44424
270 | 4.7124 | -90 | -1.5708 | 0.056 | 0.07 | 0.14 |  | 0.044905
280 | 4.8869 | -100 | -1.7453 | 0.573 | 0.067 | 0.134 |  | 0.45947
290 | 5.0615 | -110 | -1.9199 | 0.966 | 0.064 | 0.128 |  | 0.77461
300 | 5.236 | -120 | -2.0944 | 1.145 | 0.065 | 0.13 |  | 0.91814
310 | 5.4105 | -130 | -2.2689 | 1.144 | 0.068 | 0.136 |  | 0.91734
320 | 5.5851 | -140 | -2.4435 | 0.965 | 0.071 | 0.142 |  | 0.77381
330 | 5.7596 | -150 | -2.618 | 0.55 | 0.066 | 0.132 |  | 0.44103
340 | 5.9341 | -160 | -2.7925 | 0.018 | 0.071 | 0.142 |  | 0.014434
350 | 6.1087 | -170 | -2.9671 | -0.588 | 0.071 | 0.142 |  | -0.4715
360 | 6.2832 | -180 | -3.1416 | -1.112 | 0.067 | 0.134 |  | -0.89168
Operating Condition 1 (Hz) | P1-P2 (in. H2O) | Standard Deviation of P1-P2 (in. H2O) | Statistical Uncertainty in P1-P2 (in. H2O) | RSS Propegated Uncertainty in P1-P2 (in. H2O) | Corresponding q (in. H2O) | Reynolds Number (sutherlands formula)
55 | 6.868 | 0.074 | 0.148 |  | 3.6277
Theta (Degrees) | Theta (Radians) | Beta (Degrees) | Beta (Radians) | Pcyl-Pwall (in. H2O) | Standard Deviation in Pcyl-Pwall (in. H2O) | Uncertainty in Pcyl-Pwall (in. H2O) | RSS Propegated Uncertainty in Pcyl-Pwall (in. H2O) | Cp ((Pcyl-Pwall)/q)
0 | 0 | 180 | 3.1416 | -3.407 | 0.088 | 0.176 |  | -0.93917
10 | 0.17453 | 170 | 2.9671 | -4.476 | 0.094 | 0.188 |  | -1.2338
20 | 0.34907 | 160 | 2.7925 | -4.505 | 0.106 | 0.212 |  | -1.2418
30 | 0.5236 | 150 | 2.618 | -4.164 | 0.168 | 0.336 |  | -1.1478
40 | 0.69813 | 140 | 2.4435 | -3.827 | 0.122 | 0.244 |  | -1.0549
50 | 0.87266 | 130 | 2.2689 | -3.829 | 0.119 | 0.238 |  | -1.0555
60 | 1.0472 | 120 | 2.0944 | -3.868 | 0.153 | 0.306 |  | -1.0662
70 | 1.2217 | 110 | 1.9199 | -3.948 | 0.129 | 0.258 |  | -1.0883
80 | 1.3963 | 100 | 1.7453 | -4.037 | 0.151 | 0.302 |  | -1.1128
90 | 1.5708 | 90 | 1.5708 | -4.087 | 0.189 | 0.378 |  | -1.1266
100 | 1.7453 | 80 | 1.3963 | -4.23 | 0.174 | 0.348 |  | -1.166
110 | 1.9199 | 70 | 1.2217 | -4.142 | 0.236 | 0.472 |  | -1.1418
120 | 2.0944 | 60 | 1.0472 | -4.474 | 0.22 | 0.44 |  | -1.2333
130 | 2.2689 | 50 | 0.87266 | -4.304 | 0.265 | 0.53 |  | -1.1864
140 | 2.4435 | 40 | 0.69813 | -4.255 | 0.179 | 0.358 |  | -1.1729
150 | 2.618 | 30 | 0.5236 | -4.157 | 0.18 | 0.36 |  | -1.1459
160 | 2.7925 | 20 | 0.34907 | -4.158 | 0.143 | 0.286 |  | -1.1462
170 | 2.9671 | 10 | 0.17453 | -3.974 | 0.161 | 0.322 |  | -1.0955
180 | 3.1416 | 0 | 0 | -3.916 | 0.159 | 0.318 |  | -1.0795
190 | 3.3161 | -10 | -0.17453 | -3.84 | 0.137 | 0.274 |  | -1.0585
200 | 3.4907 | -20 | -0.34907 | -3.771 | 0.133 | 0.266 |  | -1.0395
210 | 3.6652 | -30 | -0.5236 | -3.777 | 0.141 | 0.282 |  | -1.0412
220 | 3.8397 | -40 | -0.69813 | -4.085 | 0.178 | 0.356 |  | -1.1261
230 | 4.0143 | -50 | -0.87266 | -4.438 | 0.126 | 0.252 |  | -1.2234
240 | 4.1888 | -60 | -1.0472 | -4.308 | 0.103 | 0.206 |  | -1.1875
250 | 4.3633 | -70 | -1.2217 | -3.255 | 0.08 | 0.16 |  | -0.89727
260 | 4.5379 | -80 | -1.3963 | -1.619 | 0.08 | 0.16 |  | -0.44629
270 | 4.7124 | -90 | -1.5708 | 0.147 | 0.062 | 0.124 |  | 0.040522
280 | 4.8869 | -100 | -1.7453 | 1.704 | 0.069 | 0.138 |  | 0.46972
290 | 5.0615 | -110 | -1.9199 | 2.862 | 0.064 | 0.128 |  | 0.78893
300 | 5.236 | -120 | -2.0944 | 3.395 | 0.066 | 0.132 |  | 0.93586
310 | 5.4105 | -130 | -2.2689 | 3.395 | 0.066 | 0.132 |  | 0.93586
320 | 5.5851 | -140 | -2.4435 | 2.812 | 0.066 | 0.132 |  | 0.77515
330 | 5.7596 | -150 | -2.618 | 1.617 | 0.063 | 0.126 |  | 0.44574
340 | 5.9341 | -160 | -2.7925 | -0.019 | 0.067 | 0.134 |  | -0.0052375
350 | 6.1087 | -170 | -2.9671 | -1.83 | 0.071 | 0.142 |  | -0.50445
360 | 6.2832 | -180 | -3.1416 | -3.424 | 0.076 | 0.152 |  | -0.94385
Note on A10: Michael Madden: Should be close to 2
Note on A17: Michael Madden: Calibrated in Lab 1
Note on A23: Michael Madden: Use 2 different operating conditions at the high end (40-60 Hz) Taking measurements every 10ish degrees
Note on A74: Michael Madden: Use 2 different operating conditions at the high end (40-60 Hz) Taking measurements every 10ish degrees